## BayREN-Q3-Forum-2021-9-1_Q&A Re
Q&A from September 1, 2021 BayREN Regional Forum: Decarbonizing Bay Area Homes: Homeowner and Policymaker Perspectives
Disclaimer: We have removed duplicates and edited for readability but have not fact-checked the content of this document.
Question | Answer(s)
I'm a homeowner of a 1926 home that's all gas. I work in this field and I have a good job but I have not found a way that works to make changes without financing the payback time myself. If I'm in this position, plenty of others must be, too. How do we get the up-front funding to people who want to make these changes? | BayREN Residential offers an Electrification Pathway, which can contribute up to $5,000 per home for efficent electrification upgrades. https://www.bayrenresidential.org/rebates - And BayREN also offers the Multifamily Clean Heating Pathway: https://www.bayren.org/electrification For financing the balance excluding rebates, the most common approach for a homeowner is a home equity loan or line of credit. PACE financing remains available. | There is also the state GoGreenHome program: https://gogreenfinancing.com/residential
Will BayREN be supporting the SolarApp+ application for automated solar permmiting? This will also expand to cover electrification projects in the future. More info at: https://solarapp.nrel.gov/ | Hi David-- Information on SolarApp was presented at our last Forum in June. You can find the slides and presentations at www.bayrencodes.org/events.
Nancy I agree with you completely! How to make this feasible for everyone is critical in my opinion. I'm hoping panel 2 will give us some insights. I heard a piece on the radio this morning about a strategy being using in Holland that sounds like it could have potential, especially for multi family buildings; https://www.npr.org/2021/09/01/1030223401/a-dutch-group-may-have-a-way-to-drastically-cut-carbon-emissions | Hi Jody - RMI is working on programs inspired by the dutch program, including a CEC EPIC-supported project developing the technical and market solutions appropriatefor California - focused initially on affordable multifamily. https://rmi.org/our-work/buildings/realize/ | Great ideas!
Question for future Q&A: Two years ago BAyRen instituted rebates for heat pump installation. However, they were only available if a household was replacing BOTH AC and a furnace (heating) with a heat pump. For those of us on the bay side of the Berkeley/Oakland Hills, including SF, we were left out as most of us don't/didn't have AC. Will this be changed in the future? | Our Home+ Program is working on it! We are now able to offer rebates for ductless mini-splits that replace a wall or floor furnace, no A/C needed. We anticipate being able to offer rebates for ducted systems next year. | Will they be applicable to past installations? :) | I have a ducted system. | Great question Chris, I'm in the same situation - only my gas furnace is left and I've gotten very high cost estimates to go to heat pump HVAC so a rebate is very much needed in this area - looking forward to seeing it released hopefully early next year. | '@Chris, unfortunately the installation would have to be done by a participating contractor and be done in the same year. As the administrator of this program and someone who has the same setup, I am personally very motivated to get the state to accept this use case soon.
Susan, do you have any estimated date that the case studies will be published? | They will be completed later this fall and posted on the website: https://www.smcsustainability.org/energy-water/home-electrification/
In installing heat pumps and other electrical appliances, plus PV, I was told by two electricians that I needed to upgrade my panel and bring in 200Amps, and by two others that I didn't. I went with the later advice. How can this be standardized? This is obviously a way for an electrician to make additional money but is it necessary? | This is one of the number one barriers to building decarbonization: electrical contractors telling people they MUST upsize their panel in order to...install an EV charger, install a heat pump water heater, you name it. It just is not true in 80% of cases. Even if we get the word out to contractors that upsizing the panel is unnecessary, it may be a tough sell to them, since that is extra revenue for them.
You said save $10-20K for panel upgrade, but slide said $3K -- which is it? | We recently did a project like this, including panel upgrade, which was about $4000, I think. | Ann - Panel cost upgrade cost depends a lot on location and layout. For a ‘typical’ California detached single family home with very readily accessed panel in a garage and overhead service line (poles in the street), $3k to $5k is a reasonable range, and SVCE’s Rebate Tracker documents a significant number of situations like this. In a neighborhood with underground distribution, an old home with the panel in the living space, or lots of other ‘atypical’ complexities that are normal in older housing stock, a panel upgrade can cost much more. Situations do exist where avoiding the panel upgrade is worth $20k++ to the homeowner. | That's right. It ranges. If the home's service lines are overhead, $3-5 is a good range. If the wires run underground, it can run much higher: $20k or higher. That's why staying on the existing electric panel is so valuable.
Have you found that enough contractors are willing to spend the time to develop bids for projects for a study that may or may not be installed? | live answered | Contractors are accustomed to bidding on projects without a guarantee of getting it. These homeowners are highly motivated and so the chances of getting the work may be higher then normal.
In getting a space heat pump, the HVAC salesperson pushed including an additional "heat strip" which is simply an old style resistance type heating element. This would kick in to give rapid heating. It would also require an additional circuit (20+Amp?). However, in the Bay Area this kind of heating technology is not really required. That is something that most home-owners would not know about sufficiently enough to make a decision about, including saying no. | Yes the equipment is evolving faster than some of the local contractors. We need to find ways to help everyone catch up with the latest possibilities for how to provide thermal comfort in cost effective ways. | Yes, I was offered the heat strip option by one contractor - another suggested I keep my gas furnance as back up (which the contractor called a hybrid system). I was told that a heat pump wouldn't be able to heat my home on the coldest days a number of times.
Someone on the Berkeley Climate Action Electrification Working Group mentioned that the difference in electricity use between using a standard electric dryer in 'eco-mode" and a heat pump dryer is small. | The NEC (national Electric Code) is focused on Amps (current flow that can over heat electric equipment in peak draw conditions) So they look at full nameplate ratings and not mode selections.
I was told that a kitchen remodel requires five circuits, which puts a large space and load requirement on the 100 Amp panel in our 1440 sq ft home. I guess the first question is whether this is correct, but more: do existing Electrice Code requirements make whole house electrification unnecessarily difficult? Should BayREN be working on future code changes, if it's an issue? | I personally don't think CODE requirements are the problem. Being able to quickly pull a permit and work through city requirments could be a impediment (streamlining!). | Kim, I'm not as familiar with new construction code, but the National Electrical Code load calculations requires us to assume 2 kitchen circuits for plug-in 120-volt devices, in addition to dedicated individual circuits (and rated amps) for: a refrigerator, dishwasher circuit (if there is one), range or cooktop and oven and a microwave IF the microwave is built in. Countertop microwaves don't require a dedicated circuit, but just lumped into the general "light and plug" loads in the house. | Just one note: more required circuits don't necessarily translate into higher loads or panel upsizing.
A Typical 100 amp panel for a 1960s home is now 60 years old and has already exceeded its useful service life. Is there any research into how these panels perform when pushing the limit of a 100a capacity going all electric. As an inspector we typically can’t require a panel be replaced due to age but older equipment does pose a safety risk. | We are seeing that electrifying on a 100-amp panel results in actual peak loads of ~8kW (out of the 24kW available). This is a fine level and probably below the typical peak loads when a 1950s home was built. And so while it's good to update an electric panel at the end of it's useful life, we don't see the two as linked.
The few people I know with EVs, including myself, are just getting by with 110-120 V plug for charging. | We do too! It takes care of like 90% of our driving needs and then supplement w/ public L2 or 3 on ad hoc basis | I wonder how many people are installing higher amp EV charging when they don't really need it. | Many, many people are installing EV chargers that are way bigger than they need. These stress the grid and force a panel upgrade. Avoiding an oversized EV charger is one of the best ways to avoid a panel upsize. | In fact, my Bolt has an option (the default) to limit charging to 8 amps. 12 amps is also possible if the 110-120 circuit is dedicated.
Are the insulation recommendations what are called for in code now? | live answered | Chris, do you mean code for new buildings? If so, I'm not sure. If you mean code for existing buildings, I'm not aware of such code. Let me know which you mean and I'm open to being educated.
What split HPWHs are available other than Sanden? | I think the Nyle company is working to bring its split system water heater back on the market in the next year.
Does anyone know the draw of a 30 Amp hybrid heat pump water heater that is only used in heat pump mode? | I did measure this and I think it was about 4.5 amps, but I would haver to check this again. | Mine like thst is 500 Watts of compressor draw ( about 2 amps at 240 Volts ) I have it set on heat pump only mode and it stays there. But in the NEC panel calculation counts it as a 4600W nameplate load. (19.2 amps ). The NEC has me count 7.7 coincident amps ( 40% coincidence factor) on the panel sizing calculation. And my water heater sits on a 30 amp cicuit (with nice cool fat wires).
Is there a plan to pop this excellent info into an easily digestable case study? I think it dispels lots of myths that may deter folks from electrifying. | Yes! There will be a full report developed and published at the end of the project. It will be available later this fall.
It's great to reduce cost by not having to upgrade panel but still wondering how accessible it would be to low- and even mid-income individuals - will the case studies be including the cost estimate and possible payback/savings from making the move to electric? | Yes. The financial cost/analysis for each house will be included in the final report.
I am very sorry I have to leave the webinar early! I look forward to the recording. Do you recommend foam insulation, even considering the environmental impacts? For retrofits and even new homes, exterior rigid insulation is superior to batt wall and roof insulation only. Is this something you recommend and provide details for? Regarding energy equity - Doesn’t converting inefficent older homes and new, larger homes to all electric disproportionately affect lower income communities that are impacted by fossil fuel dependent power generators on high use days when greener sources don’t cover demand? Even our new home has the solar inverter shut down due to low voltage because the transformers in our neighborhood are outdated and cannot handle all the new electric homes. So we are dependent on dirtier electricity on the days we need our solar the most. | re: "fossil fuel dependent power generators" If you are talking about electricity from PG&E or the various CCAs -- EBCE, SFCleanPower, etc. -- all those now have 100% Renewable options that you can enroll in. | Thanks!
How do we scale this? | That is the key question, and a lot of people are working on it. I think it will take a variety of approaches, such as education, incentives, training for contractors, permitting improvements, and more.
At what point do the a) the ‘embedded carbon’ in an existing [gas] furnace or water heater or a electric resistance dryer, and b) the emissions generated by swapping out (manufacturing, transport, disposal, etc.) an existing appliance make it less envirionmentally damaging to retain an existing system vs. upgrading to a carbon-free alternative? This is an important consideration for those who consider these issues from the POV of minimizing negative impacts more globally. | I have studied this a bit and I recommend looking at the EPA’s WARM model to get a handle on embedded emissions in many materials including steel, copper and mixed metals. CO2e for manufacturing appliances appears to be about 5X the weight of the appliance plus whatever might be associated with 2 lbs. of refrigerant. In general if we want to decrease manufactured emissions we should use combined devices like a heat pump that eliminates the need for a heavey furnace, a combined washer condensing dryer that eliminates the need for a separate dryer and frees up that circuit for an EV etc. and a slide in range that eliminates the need for wall ovens. In general it makes environmental sense to quickly recycle our gas appliances instead of trying to “use them up”. It makes sense to never sell an air conditioner that does not doumpinghe winter. | Realistically most will replace the gas appliances when they are at end of life, so it's a moot issue. | '@ChrisGilbert— not necessarily for this audience.
Are there any IAQ strategies that can be incorporated into the HVAC conversations; along the lines of ventilation, air filtration, and air quality monitoring? | I am a strong believer in ERV systems (Energy Recovery Ventilation) -- which can help reduce heating and cooling loads, provide fresh air into the home, and can add air infiltration. These can be stand alone or be added alongside a new (or existing) HVAC system.
Do we need a specialized design team to do what Josie and Tom did--basically design the solution that contractors can then execute? | Two approaches pop to mind… 1) you could make teams that specialize like we did in making an independent 3rd party plan for homeowners. 2) enlightend contractors separately from each trade ( solar, HVAC, Insulation, electrical, plumbing, general contractors, etc. ) could each incorporate developing electrification plans into their offering along with the trade service for which they were hired. This would make them the trusted advisor. There are other methods too. Any suggestions? | Scott, great question. At the formation of the Building Decarb Coalition, and all along I suggested that architects and engineers have been left out of the solutions that focus purely on contractors as the only solution; and that a good nodel might be nimble design build tiger teams to address all the needs for : master planning work over time, revealing options, and managing the actual implementation= traditional architect trusted advisor and creative role for homeowner peace of mind. make sense?
For pool heating, wolf residence, have you considered a pool cover? we use one that looks like bubble wrap, very good at heating warm enough, and saves water by lessening evaporation. some hassle to roll up the cover, but save $. | thanks - yes, we already have a safety pool cover (w/ little kids the bubble wrap kind is too dangerous) - we do find the pool stays pretty warm, so we haven't been using the heater
the two earlier presenters made the case that a full electrical upgrade may not always be necessary. Did I understand that right? | Yes, 100 Amps at 240 Volts provides 24 killowatts of instant power. That’s a lot. We can make good equipment selection choices that help us live large on those panels.
The stove, whether gas or electric, is probably the smallest energy user. My gas stove is the only gas appliance left. There is no charge for our use of this; it doesn't register on the gas meter. We just pay the fixed fee. | This is true! In an affordable housing context, the stove may be the most important appliance to help gaurtnee health and saftey. Gas stoves have a very negative impact on indoor air quality -- so if we do decarb work, going all the way would be preferrable. | Yes, health considerations make the case here. | Let's not let the homeowner's insistence on gas cooking to stop other electrification.
Tom, do you have a spreadsheet for your amp diet figuring or an on-line tool? | Here’s a link to where one of our calculators is usually maintained. https://redwoodenergy.net/?page_id=29
Incentives don't scale. | You're right that we need more than incentives! They can be important in getting things started, though. | What worked well inn California Solar was incentives that start high and then step down gradually as volume targets get met. This helps the contractors hone their skills and offerings as the market becomes more disciplined. | I agree re incentives helping at the start, but can't be the long-term plan. Not enough money. Bridge to making things cost-effective on their own (or otherwise desired in the market).
Along with climate impacts, do you consider health impacts of gas use in homes and the benefits of avoiding combustion? | Yes! Habitat has committed to be 100% electric on future new construction developments. In a home preservation perspective, combustion saftey and indoor air quality (health) is critical. The information is there -- supporters of decarb work need to continue talking about it, educating, etc.
Doug, do you have any specific ideas on how to make induction stoves more palatable or preferable for low/lower income homeowners? | All hands approach! Education. Talking about some great research done on indoor air quality (and some very real negative health impacts of gas stoves). Set up trials (rather than a demonstration, let people TRY stoves). And continual and long term outreach and education.
What do folks think about lending out induction hot plates from tool lending libraries, as a means to reducing homeowner push-back on cooking? | seems like an EXCELLENT idea. I think the Berkeley tool lending library may do this now. [also lend ice cream makers!] (:>) | Our community’s Sustainability Division (Piedmont) is actually doing this— they have 3-4 ‘loaner kits’ of an induction burner with instructions and a couple of compatible pots/pans so that residents can trial working with an induction cooktop prior to investing in a full induction appliance. I think Piedmont partnered with EBCE (our local Community Energy aggregator) to deliver this program. | Love this idea. Thanks! | I love this idea too. Any of us with a portable induction “burner” can start lending it to our network. I leant mine to my workmates at Palo Alto and I think it led to the Palo Alto Acterra lending program.
Upgrading a panel is a large cost, so solutions like NeoCharge and SimpleSwitch seem important and exciting. However, so few people know about these. What are the steps recommended to find an electrician who knows about these “hacks”? | Good question. Perhaps a contractor interview question could be: Are you familar with techniques and products that let you help me implement solutions to electrify my whole 2000 sqft home without needing to upsize from my 100-amp panel?.
To try out induction cooking a got a one “burner” induction unit and for $100 I got the unit and two pans and have been using this for almost all my cooking and love it! | Thanks! | There are lots of loaner programs for induction cookstoves around the Bay area - full list at https://www.climateaction.center/e-building-programs
heat pump dryers seem to get the worst reviews. Drying times are much longer. | I hear that Josie likes her hybrid dryer (heat pump plus resistance and that it’s speedy). I like my 4.5 cubic foot combined single machine that washes and does condensing drying (like a heat pump). It’s a labor saver and time saver at my house because there is no slack time between washer stopping and dryer starting. I use it at about 95 minutes to go from dry dirty clothes to dry clean clothes. And the old 30 -amp dryer circuit is available the whole time to do other things like charge EVs or more than run the HVAC, etc. | I guess it's the larger 7+ cu. ft heat pump dryers that I'm thinking of, without any kind of hybrid mode.
I am a homeowner in Berkeley. After 30 years, I am planning a major reformation/remodel. I get stuck being overwhelmed by what I have to do. Does BayRen have consultants who could do a review of a home similar to what the project has done in San Mateo? I am convinced to electrify, need a new roof and solar and everything else. | Yes, contact the Home Energy Advisors: https://bayrenresidential.org/get-started | BayREN's Home+ Program provides Home Energy Advisors and rebates -- use the link above to get started!
Cars will also shortly be available for backup. A car battery is equivalent to about 5-6 tesla power walls I believe. But the technology isn't quite there yet. | Thank you!
How long will the battery support a normal home during an outage? | This is hard to say and what is a “normal” home? Also, do you have solar or just want a battery? You don’t need too much if you are only running the fridge, internet and a few lights. | I have a 5.6kw solar system, just two of us in the home, so normal fridge, computer use, a few lights the key needs. | with minimals loads like this and good sunny days, you could go on indefinately with a 10kWh battery. I have tested this in my house and could get by with less, but you need to count kWhs thoughout the day and most people on not willing to do this. | Yes, as people have said, it will depend on the electric load of the house and the size of the battery.
What is the pay back period for a battery? I know PV is about 8 years now? | It depends on what fraction of the battery you reserve for resiliance after 9 pm each night. If you reserve it all, there is no payback from rate arbitrage. if you allocate 80% to arbitrage on non-risk days then can more than cover it’s loan payments. | Any comments on car batteries for backup?
Does the Mitsubishi low amp HP HVAC system Josie talked about include a MERV 13 or better air filter? | The HVAC system does not include a filter with that high a rating, but for a few hundred dollars, you can add a filter box on top of the indoor air handler like this: https://www.aprilaire.com/whole-house-products/air-purifiers/model-2210 that can accept a MERV 13 filter.
Josie -can you tell us what the air filtration system is that you installed that works with the mitsubishi HVAC you talked about? and how much does this cost? | I have an AprilAire filter like this: https://www.aprilaire.com/whole-house-products/air-purifiers/model-2210 that is stacked on top of my indoor air handler in my garage. I installed mine 10 years ago but I see that it is listed on Amazon for $188.
Question for Josie and Tom, how much air sealing, if any, do you have to do on existing homes? | Even in our gentle Bay Area Climate, I think some air sealing is economic for energy savings and produces comfort regartdless of heating system choice. It also can help get heat pump sizing down to the approx. 3 ton (36,000 Btu/hour) level that existing furnace ductwork can easily support. From the PCE Peninsula Climate Comfort project, I learned to meet the client where they are. That means not making prerequisite projects that they are unwilling to pursue, thereby stopping the project. A broad and controversial topic worthy of its own webinar. | Thank you Tom! Would love to follow up with you on this if possible.
Are there any financial incentives available for folks who already have rooftop solar but want to augment their system with battery back-up? | https://www.pge.com/en_US/small-medium-business/energy-alternatives/private-solar/understand-the-solar-process.page?WT.mc_id=Vanity_sgip | What about residential? | Sorry, this is the more relevant page: https://www.pge.com/en_US/residential/solar-and-vehicles/other-solar-options/battery-storage-for-residential-customers.page | Thank you! | The recap is that nothing is available unless one is low-income, has life-threatening medical issues requiring electrical equipment, or needs electricity to pump water from a private well. It would be nice if some incentives were available for more average people…
Do we anticipate more state incentives to upgrade residential panels to accommodate electrification upgrades throughout the home? This can be cost prohibitive for older homes with 60amp panels. I'm looking at a minimum to $10k just to upgrade my panel... | The TECH program will be offering incentives here in the Bay Area soon, and I think they will offer incentives for residential panels: https://energy-solution.com/tech-incentives/. Also, some CCAs have incentives for this, so check with your local CCA. | Senator Josh Becker’s SB 68 https://leginfo.legislature.ca.gov/faces/billStatusClient.xhtml?bill_id=202120220SB68 Is meant to start getting the word out about these Amp Diet techniques.
For a previous panel: Is there a study or paper on the battery payback period being cost effective? | Hi Neil. Let's connect. We have modeled this and will be including this in the case studies, but those may not be public for a bit. My email: josie_gaillard@me.com.
Why is that? One would think that there would be economies of scale for multi-family homes. | Why are electrification costs higher in multi-family homes? It’s a bit counter-intuitive… | Some things: High cost of equipment for MF buildings, less opportunity for energy/cost savings in smaller units, utility rates, solar. More info in our draft report (pg. 79): https://www.cityofberkeley.info/uploadedFiles/Planning_and_Development/Level_3_-_Energy_and_Sustainable_Development/Draft_Berkeley_Existing_Bldg_Electrification_Strategy_20210415.pdf Modeling results show that owners of multi-family housing units and smaller single-family homes can typically electrify gas appliances more cost-effectively than single-family homeowners. However, this appears to largely be a result of the PG&E E-1 tiered rate tariff modeled for this report: occupants of larger homes often pay a higher utility rate for newly-electrified loads than residents of multi-family and small single-family homes under this tariff structure. Multi-family units and smaller homes see their advantage disappear in the more cost-effective electrification + solar packages that utilize a rooftop solar PV system to manage electricity costs.
Is anyone thinking about how we might leverage the existing weatherization program to promote all-electric upgrades? This would require changing the federal rules that govern the measures that can be installed with weatherization funds. We'd probably want to advocate for larger expenditures per project. We could also reach more people if the eligibility requirements were modified to allow more moderate income property owners. | I will be speaking to income qualified providers about this. | In terms of Calif permissions and funding, I believe the CPUC has taken up this question in two proceedings: 1) the ESA/CARE funding decision, that includes a large scale electrification pilot for low income households by SCE in Southern Calif, and 2) the TECH program to accelerate decarb/electrification for retrofit applications with a special focus on helping low and moderate income households/communities. | live answered | p.s. The CPUC's recent decision on CARE / ESA income eligibility was to stick with 200% of the Federal Poverty Level. I think they were mindful of the huge increase in demand that would occur if income limts were lifted. Currently between these 2 programs other ratepayers are funded at about $1.6 bil/year that comes from increasing other rateayers' rates. Increasing income eligibility would increase that cross-subsidy funding arrangement more dramatically. Federal (or even State general fund surplus) funds or other financial mechanisms would help a lot, rather than adding on to existing electric and gas rates. Electric prices now nearing 30 cents/kWh residential for non-low income households. Rather pricery compared to rest of country.
What constitutes a Home Energy Assessment, and does that include the low amp roadmap and solar and batteries thathave been talked about by other speakers? who does these assessments? and how much does it cost ? Does BayRen do these Assessments for free? | For Piedmont, one can get a Home Energy Score (HES) or an energy audit. The HES is a US DOE program that rates a home from 1 to 10 with 10 being the most energy efficient. It is an asset rating so looks at the features of the home (insulation, appliances, windows, etc.) and not the energy consumption since that is more based on the behavior of the homeowner than how efficient the home itself is. The HES also provides custom recommendations for improvements. BayREN supports the HES by enrolling qualified assessors and providing a $200 rebate. The score will likely have some costs after the rebate since it is largely based on the size of the home. In comparison, a full energy audit also include lots of testing like a blower door test, duct blasting, etc. It is typically more expensive and takes longer but does give a homeowner more data. BayREN does not have a rebate for energy audits, but some of the additional testing can be added on to an HES. | Here is some more info on the BayREN program and where you can find a list of assessors who can do an HES: https://www.bayren.org/hes | Thanks!
Alyssa, can you speak to whether any of these requirements apply to duplexes or multi-family? Or ADUs? | Hi Nancy. The current requirements are for low rise residential buildings (an R-2 multi family building with 3 habitable stories or less, an R-3 single family, or U building [accessory structure] on residential building). Reach code applies to those LRR buildings and new detatched ADUs.
Hi Alyssa, thank you for your efforts to push these boundaries. Our company has historically encountered more challenges acquiring permits in the city of Piedmont (involving outdoor units that are necessary for electrification) than in any other city/county, by a large margin. Can we expect a more streamlined permit process in the near future with these efforts? | Hi Kyle. Yes, we are evaluating our permit process now that the RCs are in effect and as we prepare for 2022 building code standards. Solar PV and EV charger projects are currently expedited permits in Piedmont and will are exploring additional types of projects. Feel free to reach out to me - adykman@piedmont.ca.gov | Thank you Alyssa
For general awareness, ENERGY STAR will be launching a Home Upgrade program this Fall in partnership with its member network that promotes a phased approach to electrifying key components of a home (EV/HPWH/ASHP-HVAC). Offer will also include financing options. Check in at energystar.gov/home upgrade for latest updates and for the Online Home Upgrade Tool launch timing. Thanks. | Would you please confirm the URL for this? thx | Try https://www.energystar.gov/ then search for Home Upgrade
Does the Explorer include batteriea? Solar plus batteries? Can you please add a link to the study and the Explorer? Thank you. | When the study the Explorer references includes batteries, then the Explorer can present that info. The 2021 low-rise residential existing buildings study included PV & Battery as one measure. https://explorer.localenergycodes.com/ | Thanks!
Is thia explorer available for anyone to access? | Yes: https://explorer.localenergycodes.com/ | Thank you! | Thanks!
Are you submitting for architect attendees to get AIA learning unit credits? If so, please advise how to get you our AIA number | Sorry, we do not provide AIA credits.
Listing of lending programs for induction lending and rebate programs https://www.climateaction.center/e-building-programs